DICOM Setup Form

Dear Customer,

Below is a list of the settings required by our Field Engineer for your DICOM setup. Prior to your installation, please complete the fields below and email or fax it to Aymes Medical:  Email: christine@aymes.ca     Fax: 905-953-1411

The Field Engineer will:

- Install required software 		-      Enable and configure network connection on GE Lunar computer

- Enter required information below	-      Test communication with server via DICOM software

Please fill out the following information:

IT Contact Information				Project manager / IS-IT dept

Primary contact: ______________________	Primary contact: ______________________

Telephone: __________________________	Telephone: __________________________

Fax:  _______________________________	Fax:  _______________________________

Address: ____________________________	Address: ____________________________

____________________________		  ____________________________

General Requirements:

Does the server accept “OT” modalities?      				   Yes ________ No _________

Is the server able to accept a new Modality? 				   Yes ________ No _________

Is there an active RG45 network connection with the GE/Lunar computer?  Yes ________ No _________

Is there a cable from the network jack to the GE/Lunar computer?                Yes ________ No _________

(The customer is to provide the cable and connect the PC to the network.)

Lunar PC Network Interface Card Setup (if static address required):

- AE Title: _GELUNAR________________	2. IP address: _____________________________

- Subnet mask: _____________________	4. Default gateway: _________________________

DICOM Worklist (DMWL) SCP checklist:

1.  Name:  ____________________________	2. AE Title: ________________________________

3.  IP address: _________________________	4.  Port #: _________________________________

PACS DICOM Store SCP information:

1.  Name: _____________________________	2.  TCP/IP address: _________________________

3.  AE Title: ___________________________	4.  Port #:_________________________________

5.  Modality: _______ (if specific modality is required) (Default is OT)

6.  Which image format does your PACS support?  RGB_____ Palette Colour_____ Monochrome_____